Company ： JIANGSU LABONCE INSTRUMENT CO., LTD.

Address ：1F , 2F , NO.5 STANDARD FACTORY IN THE PIONEER PARK OF SMES, ECONOMIC DEVELOPMENT ZONE IN ZHENXING NORTH ROAD AND THE WEST OF WULING SOUTH ROAD , TAIZHOU CITY, JIANGSU PROVINCE, CHINA

Contact Person: Guston

Tel：+86-010-56545023   +86-13811790181

Fax ：010-56545070

E-mail ：export@labonce.com

Website：www.labonce.com

| - Destination: | Within China |
| --- | --- |
| - Payment: | Negotiate |
| - Delivery Date: | 20-25 workdays |
| - Packing: | Wooden chamber package |
| - Freight age: | Within China |
| - Guarantee: | 1 year |
| - After-sale Service: | 24 hours online service |
| ⑻ Others: |  |

Our company is specialized in the research &development and production of temperature chambers. We adopted advanced Germany technology, reasonable structural design, and high-quality imported components, to supply stable, safe and reliable chambers.

1、Adopt the latest air duct system design, the temperature uniformity of different position inside the chamber is good；

2、Fully enclosed industrial compressor imported from Europe, high efficiency and low noise, ensure the long-term continuous operation of equipment；

3、European original imported temperature sensor, with high sensitivity, low annual drift, direct detection of without maintenance;

4、Special temperature controller, quick induction, small system error；

5、The liner material is full mirror stainless steel 304, easy to clean.

| Description | Model | Unit | Quantity | FOB price | Notes |
| --- | --- | --- | --- | --- | --- |
| Photo-stability Chamber | Labonce-150LTPS-1 | set | 1 |  | Loading of export crates to Shanghai port |
|  | Labonce-500LTPS-2 | set | 1 |  |  |
| Total: |  |  |  |  |  |

Technical Parameter：

| Name | Photo stability Test Chamber |  |
| --- | --- | --- |
| Model | Labonce-150LTPS-1 | Labonce-500LTPS-2 |
| Temperature Range | 2～30℃ |  |
| Accuracy | ±1.0℃（Same layer） |  |
| Deviation | ±2.0℃（Same layer） |  |
| Visible light range | 100 ～ 6000Lux |  |
| Total illumination | ≥ 1.2 x 10^6Lux·hr |  |
| UV range: NUV range | 0.84 ～ 1w/m squared; |  |
| The near-UV energy | ≥ 200w•hr/㎡ |  |
| UV wavelength:; | NUV wavelength: 320 ~ 400nm |  |
| Refrigeration System | The imported fully enclosed industrial compressor |  |
| Light Source Design | Top light source design |  |
| Chamber Material | The liner is made of mirror stainless steel 304 |  |
| Refrigerating System | The imported fully enclosed industrial compressor, long-life, low noise. |  |
| Control System | The imported digital display illuminance controller,High control accuracy. |  |
| Safety device | compressor overheat and overpressure overload protection, Fan overheat protection. |  |
| Dual Protection | Equipped with independent overtemperature protection system, can automatically cut off the power supply |  |
| Data Record | Equipped with data collection system conform to GMP requirements,Needle micro printer and USB output port as standard |  |
| Meet a criterion | Meet ICHQ1B、Chinese Pharmacopoeia 2020 edition |  |
| Ambient temp | ＋5～35℃ |  |
| Refrigeration System | The imported fully enclosed industrial compressor |  |
| Light Source Design | Top light source design |  |

| MAX power （kW) | 1.2 | 2.2 |
| --- | --- | --- |
| Trays(standard) | 1 | 2 |
| Capacity (L) | 150 | 500 |
| Interior dimensions W×D×H (mm) | 650×490×500 | 660x680x1100 |
| External dimensions W×D×H(mm) | 830×790×1250 | 880x1080x1880 |
| Packing dimensions W×D×H(mm) | 880×900×1380 | 930x1140x2040 |
| GW | 150kg | 420.5kg |

150L

500L