Company ： JIANGSU LABONCE INSTRUMENT CO., LTD.

Address ：1F , 2F , NO.5 STANDARD FACTORY IN THE PIONEER PARK OF SMES, ECONOMIC DEVELOPMENT ZONE IN ZHENXING NORTH ROAD AND THE WEST OF WULING SOUTH ROAD , TAIZHOU CITY, JIANGSU PROVINCE, CHINA

Contact Person：Guston

Tel：+86-13811790181

Fax ：010-56545070

- mail ：export@labonce.com

- Website：www.labonce.com

| - Destination: | Shanghai Port,China |
| --- | --- |
| - Payment: | T/T 100% in advance |
| - Delivery Time: | 30 working days |
| - Packing: | Wooden box package |
| - Freight age: | Deliver to Shanghai Port,China |
| - Guarantee: | 1 year |
| - After-sale Service: | 24 hours Online service |
| ⑻ Others: |  |

The constant temperature & humidity chamber, environmental testing chamber is mainly used in testing the adaptability of electronics, electrical appliances, food, automobile, rubber and plastic, metal and other products, parts and materials in the high and low temperature alternating hot and humid environment when storage, transport and using.

| Description | Model | Unit | Quantity | FOB price | Note |
| --- | --- | --- | --- | --- | --- |
| # Constant Temperature and Humidity chamber | Labonce-250CH | set | 1 |  |  |
|  | Labonce-800CH | set | 1 |  |  |
|  | Labonce-1000CH | set | 1 |  |  |
| Total： |  |  |  |  |  |

Technical Parameter:

| Name | # Constant Temperature and Humidity chamber |  |  |
| --- | --- | --- | --- |
| Model | Labonce-250CH | Labonce-800CH | Labonce-1000CH |
| Temperature Range | 15～60℃ |  |  |
| Accuracy | ±0.5℃ |  |  |
| Deviation | ±2.0℃ |  |  |
| Temperature Uniformity | 2.0℃ |  |  |
| Humidity Control | 40～90%RH |  |  |
| Humidity Fluctuation | ±3%RH |  |  |
| Humidity deviation | ±3%RH |  |  |
| Humidity Uniformity | 5%RH |  |  |
| Structure Design | Adopt the latest airduct system design achieves good uniform of temperature and humidity form different parts inside the chamber. |  |  |
| Chamber Material | The liner is made of mirror stainless steel 304 |  |  |
| Refrigeration System | Imported fully enclosed compressors |  |  |
| freezing medium | R134A |  |  |
| Humidity System | Imported capacitive humidity sensor(E+E) |  |  |
| Controller | programmable color touch screen controller with data storage function, data can be exported through USB flash drive |  |  |
| Ambient temp | ＋5～35℃ |  |  |
| Power source | AC 220V±10% 50Hz |  |  |
| Safety device | Compressor overheat protection and overload protection、Fan overheating protection、Water scarcity protection |  |  |
| Dual protection | Equipped with double insurance dry fire protection system, equipped with independent over temperature protection system, can automatically cut off the power supply; |  |  |
| Live Alarm: | Temperature and humidity upper and lower limit deviation alarm;Independent over temperature protection alarm system. |  |  |
| MAX power （kW） | 1.5 | 2.5 | 3.0 |
| Capacity (L) | 250 | 800 | 1000 |
| Interior dimensions W×D×H (mm) | 600*500*830 | 1200*490*1360 | 1400*510*1400 |
| External dimensions W×D×H(mm) | 760*870*1650 | 1385*895*1965 | 1615*925*1975 |
| Trays (standard) | 3 | 4 | 4 |
| Packing dimensions W×D×H(mm) | 850*980*1770 | 1385*895*1965 | 1680*980*2180 |
| GW | 213kg | 395kg | 460kg |

100~500L