Company ： JIANGSU LABONCE INSTRUMENT CO., LTD.

Address ：1F , 2F , NO.5 STANDARD FACTORY IN THE PIONEER PARK OF SMES, ECONOMIC DEVELOPMENT ZONE IN ZHENXING NORTH ROAD AND THE WEST OF WULING SOUTH ROAD , TAIZHOU CITY, JIANGSU PROVINCE, CHINA

Contact Person:Guston

Tel：+86-010-56545023   +86-13811790181

Fax ：010-56545070

E-mail ：export@labonce.com

Website：www.labonce.com

| - Destination: | Shanghai,port,China |
| --- | --- |
| - Payment: | T/T 100% in advance |
| - Delivery Date: | 30-35 working days |
| - Packing: | Wooden box package |
| - Freigh tage: | Deliver to Shanghai,port,China |
| - Guarantee: | 1 year. |
| - After-sale Service: | 24 hours online service |
| ⑻ Others: |  |

Our company is specialized in the research &development and production of stability chambers. We adopted advanced Germany technology, reasonable structural design, and high-quality imported components, to supply stable, safe and reliable chambers.

1、Adopt the latest air duct system design, the temperature uniformity of different position inside the box is good；

2、Fully enclosed industrial compressor imported from Europe, high efficiency and low noise, ensure the long-term continuous operation of equipment；

3、European original imported temperature integrated sensor, with high sensitivity, low annual drift, without maintenance;

4、Imported temperature controller, quick induction, small system error；

5、Equipped with an alarm system that meets the requirements of GMP, a data collection system that meets the requirements of GMP, and a standard pin printer and U-DISK storage;

6、The liner material is full mirror stainless steel 304, easy to clean.

| Description | Model | Unit | Quantity | FOB Price（USD） | Note |
| --- | --- | --- | --- | --- | --- |
| Low-temperature Stability Chamber | Labonce-250BC | set | 1 |  |  |
|  | Labonce-500BC | set | 1 |  |  |
|  | Labonce-800BC | set | 1 |  |  |
| Total: |  |  |  |  |  |

Technical parameter：

| Name | Low-temperature Stability Chamber |  |  |
| --- | --- | --- | --- |
| Model | Labonce-250BC | Labonce-500BC | Labonce-800BC |
| Temperature Range | 2～8℃ |  |  |
| Accuracy | ±1℃ |  |  |
| Deviation | ±2.0℃ |  |  |
| Temperature Control | The temperature inside won't over the standard when automation frost |  |  |
| Refrigeration System | Imported fully enclosed compressors (DANFOSS-SECOP) |  |  |
| freezing medium | R134A |  |  |
| Controller | Original imported temperature digital display meter controller (TH1400) |  |  |
| Data Record | Micro Printer with needle type |  |  |
| Data Copy | Memory with SD Card |  |  |
| Dual protections | Independent overheat protection warning system |  |  |
| Ambient temp | ＋5～35℃ |  |  |
| Interior material | Mirror surface Stainless steel 304 |  |  |
| External material | Steel powder coated |  |  |
| Power source | AC 220V±10% 50Hz |  |  |
| Safety device | Compressor and blower overheat protection system, Over temperature protection, over pressure &overload protection for compressor |  |  |
| MAX power （kW） | 0.6 | 1.0 | 1.2 |
| Capacity (L) | 250 | 500 | 800 |
| Interior dimensions W×D×H (mm) | 600×500×830 | 680×680×1070 | 1200×490×1360 |
| External dimensions W×D×H(mm) | 760×870×1650 | 840×1050×1850 | 1390×900×1970 |
| Packing dimensions W×D×H(mm) | 850×980×1770 | 1140×930×2050 | 1430×970×2100 |
| Trays (standard) | 3 | 4 | 4 |
| GW(kg) | 213 | 300 | 395 |

250~500L

800L