❶ Chamber capacity: Customized
❷ Temperature control: Customized
❸ Humidity control: Customized
❹ Controller: Programmable color touchscreen (≥7"), with three-level access control
❺ Humidity sensor: Imported capacitive sensor (direct detection, maintenance-free)
❻ Compressor: Imported hermetic compressor (long lifespan, low noise)
❼ Data printing: Prints device model/serial number plus temperature/humidity values and curves
❽ Data storage: Stores temperature/humidity data for 5+ years
❾ On-site alarms: Audible alarms for parameter deviations and independent over temperature alarm
❿ Remote alarm: SMS alerts (including power failure), supports multiple devices per SIM card
⓫ Construction: 304 stainless steel interior (mirror finish), powder-coated steel exterior
⓬ Dual protection: Dry-burn prevention system + independent over temperature protection with auto power cutoff
⓭ Safety features: Compressor overheat/over pressure/overload protection + fan overheat protection
⓮ Power supply: AC 220V±10%, 50Hz
⓯ Operating environment: +5-35°C (recommended ≤30°C, maximum ≤26°C)