Company ： JIANGSU LABONCE INSTRUMENT CO., LTD.

Address ：1F , 2F , NO.5 STANDARD FACTORY IN THE PIONEER PARK OF SMES, ECONOMIC DEVELOPMENT ZONE IN ZHENXING NORTH ROAD AND THE WEST OF WULING SOUTH ROAD , TAIZHOU CITY, JIANGSU PROVINCE, CHINA

Contact Person:Guston

Tel：+86-010-56545023   +86-13811790181

Fax ：010-56545070

E-mail ：export@labonce.com

Website：www.labonce.com

| - Destination: | Within China |
| --- | --- |
| - Payment: | Negotiate |
| - Delivery Date: | 30-35 workdays |
| - Packing: | Wooden box package |
| - Freight age: | Within China |
| - Guarantee: | 1 year |
| - After-sale Service: | 24 hours online service |
| ⑻ Others: |  |

Our company is specialized in the research &development and production of temperature chambers. We adopted advanced Germany technology, reasonable structural design, and high-quality imported components, to supply stable, safe and reliable chambers.

1、Adopt the latest air duct system design, the temperature uniformity of different position inside the chamber is good；

2、Fully enclosed industrial compressor imported from Europe, high efficiency and low noise, ensure the long-term continuous operation of equipment；

3、European original imported temperature sensor, with high sensitivity, low annual drift；

4、Special temperature controller, quick induction, small system error；

5、The liner material is full mirror stainless steel 304, easy to clean.

| Description | Model | Unit | Quantity | FOB price（USD） | Notes |
| --- | --- | --- | --- | --- | --- |
| Photo-stability Chamber | Labonce-150TPS-1 | set | 1 |  | FOB Shanghai |
|  | Labonce-500TPS-2 | set | 1 |  |  |
|  | Labonce-500TPS-3 | set | 1 |  |  |
|  | Labonce-1000TPS-3 | set | 1 |  |  |
| Total: |  |  |  |  |  |

Technical Parameter：

| Name | Photo-stability Chamber |  |  |  |
| --- | --- | --- | --- | --- |
| Model | Labonce-150TPS-1 | Labonce-500TPS-2 | Labonce-500TPS-3 | Labonce-1000TPS-3 |
| Temperature Range | 15~50℃ |  |  |  |
| Accuracy | ±1.0℃ |  |  |  |
| Deviation | ±2.0℃（Same layer） |  |  |  |
| Visible light range | 100 ~ 8000LUX |  |  |  |
| Total illumination | ≥ 1.2 x 10^6Lux·hr |  |  |  |
| UV range: NUV range | 0.84 ~ 5w/m squared |  |  |  |
| The near-UV energy | ≥ 200w•hr/㎡ |  |  |  |
| UV wavelength: | Equipped with D65 light source,NVA wavelength: 320 ~ 400nm,1*independent light source system |  |  |  |
| Sensor | 1*Near UV sensor |  |  |  |
| Light Source Design | Top light source design |  |  |  |
| Chamber Material | The liner is made of mirror stainless steel 304 |  |  |  |
| Refrigerating System | The imported fully enclosed industrial compressor, long-life, low noise. |  |  |  |
| Control System | Programmable color touch screen controller |  |  |  |
| Safety device | compressor overheat and overpressure overload protection, Fan overheat protection. |  |  |  |
| Dual Protection | Equipped with independent overtemperature protection system, can automatically cut off the power supply |  |  |  |
| Data Record | Equipped with data collection system conform to GMP requirements,Needle micro printer and USB output port as standard,Print and store a layer of illuminance values |  |  |  |
| Meet a criterion | Meet ICHQ1B、Chinese Pharmacopoeia 2025 edition |  |  |  |
| MAX power （kW) | 1.5 | 2.0 | 2.1 | 2.5 |
| Trays(standard) | 1 | 2 | 3 | 3 |
| Capacity (L) | 150 | 500 | 500 | 1000 |
| Interior dimensions W×D×H (mm) | 650×490×500 | 680×680×1080 | 680×680×1080 | 1360×490×1360 |
| External dimensions W×D×H(mm) | 830×790×1250 | 860×1050×1850 | 860×1050×1850 | 1620×910×1990 |
| Packing dimensions W×D×H(mm) | 880×900×1380 | 1200×980×2060 | 1200×980×2060 | 1820×980×2150 |
| GW | 150kg | 340kg | 340kg | 460kg |

| Catalog |  |
| --- | --- |
| Equipment picture |  |