Company ： JIANGSU LABONCE INSTRUMENT CO., LTD.

Address ：1F , 2F , NO.5 STANDARD FACTORY IN THE PIONEER PARK OF SMES, ECONOMIC DEVELOPMENT ZONE IN ZHENXING NORTH ROAD AND THE WEST OF WULING SOUTH ROAD , TAIZHOU CITY, JIANGSU PROVINCE, CHINA

Contact Person:Guston

Tel：+86-13811790181

Fax ：010-56545070

- mail ：export@labonce.com

- Website：www.labonce.com

| - Destination: | Shanghai port,China |
| --- | --- |
| - Payment: | T/T 100% In advance |
| - Delivery Date: | 25-30 workdays |
| - Packing: | Wooden box package |
| - Freight age: | Deliver to Shanghai port,China |
| - Guarantee: | 1 year |
| - After-sale Service: | 24 hours online service |
| ⑻ Others: |  |

Our company is specialized in the research &development and production of stability chambers. We adopted advanced Germany technology, reasonable structural design, and high-quality imported components, to supply stable, safe and reliable chambers.

1、Adopt the latest air duct system design, the temperature and humidity uniformity of different position inside the box is good；

2、Imported fully enclosed industrial compressor, high efficiency and low noise, ensure the long-term continuous operation of equipment；

3、European original imported temperature and humidity integrated sensor, with high sensitivity, low annual drift, direct detection of humidity without maintenance;

4、Imported temperature and humidity controller, quick induction, small system error；

5、Equipped with an alarm system that meets the requirements of GMP, a data collection system that meets the requirements of GMP, and a standard pin printer and U-Disk storage;

6、The liner material is full mirror stainless steel 304, easy to clean.

| Description | Model | Unit | Qty | FOB price（USD） | Notes |
| --- | --- | --- | --- | --- | --- |
|  | Labonce-800GS-FC | set | 1 |  | Export wooden cases are packed to Shanghai port |
| Stability Chamber | Labonce-1000GS-FC | set | 1 |  |  |
|  | Labonce-1500GS-FC | set | 1 |  |  |
|  | Labonce-2000GS-FC | set | 1 |  |  |
| Total: |  |  |  |  |  |

Technical Parameter：

| Name | Stability Chamber |  |  |  |
| --- | --- | --- | --- | --- |
| Model | Labonce-800GS-FC | Labonce-1000GS-FC | Labonce-1500GS-FC | Labonce-2000GS-FC |
| Temperature Range | 10～65℃ |  |  |  |
| Accuracy | ±0.5℃ |  |  |  |
| Deviation | ±1.0℃ |  |  |  |
| Humidity Range | 15～95%RH |  |  |  |
| Deviation | ±3%RH |  |  |  |
| Control Manner | Temperature and humidity balance Control |  |  |  |
| Refrigeration System | Imported inverter type fully enclosed compressor (Panasonic Japan), power saving 50%, water saving 50%, heat dissipation halved |  |  |  |
| Humidity Sensor | Imported capacitive humidity sensor high precision, no need for regular maintenance |  |  |  |
| Controller | Imported Touch screen Temperature and humidity controller,With three levels of user authority, audit tracking function.The frequency conversion output ratio is directly displayed on the control interface |  |  |  |
| Data Record | Micro Printer with needle type |  |  |  |
| Data Copy | Flash memory with U-disk |  |  |  |
| Test point | 25℃ 60%RH |  |  |  |
| Deviation | High&low boundary deviation alarm for temperature&humidity |  |  |  |
| Dual protections | Independent overheat protection warning system |  |  |  |
| Ambient temp | ＋5～35℃ |  |  |  |
| Interior material | Mirror surface Stainless steel 304 |  |  |  |
| External material | Steel powder coated |  |  |  |
| Water tank | External Water Tank |  |  |  |
| Power source | AC 220V±10% 50Hz |  |  |  |
| Safety device | Compressor overheating, fan overheating, overtemperature, compressor overpressure, overload, water shortage protection |  |  |  |
| Dual door | Glass door inside |  |  |  |
| MAX power （kW） | 2.5 | 3.0 | 3.2 | 3.5 |
| Capacity (L) | 800 | 1000 | 1500 | 2000 |
| Interior dimensions W×D×H (mm) | 1200×490×1360 | 1400×510×1400 | 1500×710×1400 | 1500×970×1400 |
| External dimensions W×D×H(mm) | 1385×895×1965 | 1615×925×1975 | 1710×1180×1990 | 1710×1380×1990 |
| Packing dimensions W×D×H(mm) | 1480×970×2100 | 1710×970×2150 | 1800×1220×2140 | 1800×1440×2160 |
| GW(KG) | 585 | 680 | 870 | 1070 |
| Shelf (standard) | 4/8 |  |  |  |

| Catalog |  |
| --- | --- |
| Equipment picture |  |
| Temperature and humidity range diagram |  |